## Introduction
SUNY Campus [should be tailored to the individual campus]
Internal Control Review Template: Computer Operations
SUNY Internal Control Program Guidelines Document No. 7501, FORM B
Introduction: This table represents a sample internal control review template designed to evaluate and assess the campus' internal controls relating to computer operations. Computer operations is a high-risk area that is integrated within a variety of processes. Therefore, this template divides computer operations into the following eight key areas, each with its own worksheet:
A) | Organization & Structure
B) | Physical Security
C) | Access Controls
D) | Program Changes/System Development
E) | System Backup & Recovery
F) | Database Controls
G) | Network Controls
H) | End-user Controls
For each of these areas, review the key control points in the first column that should be tested to determine whether the proper controls are in place at your campus. The second column provides examples of how to adequately test each control point. As you test each control point, document any weaknesses identified, as well as any corrective actions in the last two columns. Overall, the purpose of this template is to provide a means for campuses to assess the adequacy and effectiveness of its internal controls over computer operations. Upon completion of the evaluation, campuses should document their conclusion regarding the adequacy of its general control environment.
Please note that while this template is intended to address a number of control points, it is understood that each campus is structured with some degree of variation. The terms used in this template may or may not be in use at your campus. As such, campuses are encouraged to modify any portion of this template, as necessary, to reflect the relevant risks identified within their operations.

## A.Organization & Structure
Data Testing that was Completed for Computer Operations
Brief Description of Key Control Point being Tested | Sample Size: Number of Staff Interviewed; Transactions Observed; Documents Sampled | Describe the Results of the Test Stating Whether No problems were Found or the Weaknesses Discovered | Analyze the Weakness Uncovered and Cite Possible Corrective Action Plans
A. Organization and Structure
Data processing functions are segregated between the systems development and operations functions, as well as externally from user departments. | Review org charts and discuss with IT management
Organizational charts have been established for each department within computer operations, and are reviewed regularly and updated, as necessary. | Obtain and review org charts for the IT department
Formal job descriptions have been established outlining the job responsibilities and required competence levels for each position, and are periodically reviewed to ensure they reflect current operations. | Review sample of job descriptions and discuss with management
An Information Security Program has been established and addresses the key areas defined in SUNY Procedure #6608: Information Security Guidelines Part 1: Campus Programs & Preserving Confidentiality. | Review documentation of ISP and discuss with Information Security Officer

## B. Physical Security
Data Testing that was Completed for Computer Operations
Brief Description of Key Control Point being Tested | Sample Size: Number of Staff Interviewed; Transactions Observed; Documents Sampled | Describe the Results of the Test Stating Whether No problems were Found or the Weaknesses Discovered | Analyze the Weakness Uncovered and Cite Possible Corrective Action Plans
B. Physical Security
Written policies and procedures are established relating to maintaining physical security of computer equipment. | Obtain and review policies and procedures.
Adequate security measures are in place to prevent or detect unauthorized access to the data center (locked doors, coded entry, alarmed doors and windows, etc.). | Discuss with Computer Center manager; observe the preventive/detective measures in place.
A system is in place that documents who enters and exits the data center, as well as the date and time of each occurrence (Sign in logs, card readers/swipes, access reports, etc.). | Discuss with Computer Center manager; obtain and review any logs that are used.
Physical access reports are generated and regularly monitored to detect irregular activities. | Obtain and review access reports.
There is an established process for allowing temporary access to the data center, as necessary (employees from other departments, vendors, etc.). If temporary access is allowed, the "visitors" are escorted in and out of the data center, and are required to sign in/out and provide identification/credentials prior to obtaining temporary access. | Discuss with Computer Center manager; observe and review documentation
There are measures in place to allow sufficient surveillance of the data center (video cameras, windows, etc.). | Discuss with Computer Center manager; observe the computer center and existing surveilance controls.
Access to the data center is removed immediately for employees who are terminated, separate service, or are re-assigned. | Discuss with Computer Center manager; obtain listing of individuals who have access and verify they are still employed.
There are systems with alarms in place to constantly monitor and control room temperature and detect moisture, smoke, and fire. | Discuss with Computer Center manager; tour the data center.
A data center employee is designated as available 24 hours a day, 7 days a week to respond to any emergencies detected in the data center. | Discuss with Computer Center manager.
Fire repression systems are installed to automatically assist in extinguishing fires. Appropriate hand held fire extinguishers are also readily available throughout the data center. | Discuss with Computer Center manager; tour the Computer Center and observe any fire systems in place.
An uninterruptible power supply (UPS) is currently in use for each server to prevent data loss or damage during power outages. | Discuss with Computer Center manager; tour the Computer Center and observe any UPS systems in place.

## C. Access Controls
Data Testing that was Completed for Computer Operations
Brief Description of Key Control Point being Tested | Sample Size: Number of Staff Interviewed; Transactions Observed; Documents Sampled | Describe the Results of the Test Stating Whether No problems were Found or the Weaknesses Discovered | Analyze the Weakness Uncovered and Cite Possible Corrective Action Plans
C. Access Controls
Written policies and procedures have been established relating to the security controls over access to the system, and address data origination, input, processing and output? | Discuss with security administrator; review policies and procedures.
Responsibilities for computer security have been formally assigned to individuals for operating system software and at the individual department levels for program applications. | Discuss with security administrator.
A security administrator has been designated to control password security and establish roles and permissions for users. | Discuss with security administrator.
Employees are informed of proper password security through training and/or signed security statements. | Discuss with security administrator; obtain instructions or written procedures.
Complex or unique passwords are required and must be changed on a regular basis. | Discuss with security adminsitrator; review password requirements.
Passwords and access rights are canceled/modified timely upon an employee's termination, separation, or re-assignments. | Discuss with security administrator; obtain a listing of terminated and re-assigned employees and select a sample to verify access has been terminated or changed to the appropriate levels.
Security products are utilized to help prevent and detect unauthorized access or cyberattacks (security software, application and database security, etc.). | Discuss with security administrator and network administrator. Identify which products are used.
Reports are generated showing unauthorized access attempts and are reviewed regularly by the security administrator. Noted items are followed up on in a timely manner. | Discuss with security administrators and network administrator.
Access to computer systems or applications that contain sensitive information is restricted to only those with a business need. | Discuss with security administrator.

## D.Program Changes-System Devel
Data Testing that was Completed for Computer Operations
Brief Description of Key Control Point being Tested | Sample Size: Number of Staff Interviewed; Transactions Observed; Documents Sampled | Describe the Results of the Test Stating Whether No problems were Found or the Weaknesses Discovered | Analyze the Weakness Uncovered and Cite Possible Corrective Action Plans
D. Program Changes/System Development
Procedures have been established for controlling program changes through IT management and programming personnel. | Review procedures and discuss with management
Proper authorization is required prior to initiating any program changes. | Review procedures and discuss with management.
All program changes are tested and results are approved by IT management and the end user prior to the completion of changes. | Review procedures and discuss with management.
Procedures have been established to govern emergency program changes, when necessary. | Review procedures and discuss with management.
End users are involved in the various phases of developing/purchasing new programs or applications. | Review procedures and discuss with management.
If new programs or applications are developed in-house: - The development process considers audit and security factors - the development process is adequately documented with systems, programming, operations and user documentation | Review procedures and discuss with management.

## E.System Backup and Recovery
Data Testing that was Completed for Computer Operations
Brief Description of Key Control Point being Tested | Sample Size: Number of Staff Interviewed; Transactions Observed; Documents Sampled | Describe the Results of the Test Stating Whether No problems were Found or the Weaknesses Discovered | Analyze the Weakness Uncovered and Cite Possible Corrective Action Plans
E. System Backup
Critical files and programs are regularly copied to another medium (mirrored drives, discs, tapes, cartridges, etc.) and removed to an off-site storage location to ensure availability in the event of a disaster. | Discuss with management.
A periodic inventory is conducted to verify the appropriate backup files are being maintained. | Review logs/inventory sheets, and discuss with management.
The off-site storage location is a far enough distance away from the datacenter and has adequate controls in place to ensure the safety and security of the backup media. | Discuss with management.
The backup media is encrypted to prevent unauthorized access to the data and tested to ensure backup was successful. | Discuss with management.

## F. Database Controls
Data Testing that was Completed for Computer Operations
Brief Description of Key Control Point being Tested | Sample Size: Number of Staff Interviewed; Transactions Observed; Documents Sampled | Describe the Results of the Test Stating Whether No problems were Found or the Weaknesses Discovered | Analyze the Weakness Uncovered and Cite Possible Corrective Action Plans
F. Database Controls
A Database Administrator (DBA) has been designated to manage all databases (design and implementation, monitoring and availability, integrity and security). | Discuss with management.
Database Management Systems (DBMS) security features are used to protect data against unauthorized access and manipulation. DBMS utilities and commands are restricted to only those responsible for the maintenance of the DBMS. | Discuss with management.
Proper authorization is obtained prior to modifying the Data Dictionary and DBMS. All modifications are tested, reviewed and approved, creating documentation for an audit trail for each change. | Discuss with management.
The database and its data are backed up on a regular basis and are secured off-site. Access to the backup media is tested regularly, and the back-up media is encrypted to prevent unauthorized access to its data. | Discuss with management.

## G. Network Controls
Data Testing that was Completed for Computer Operations
Brief Description of Key Control Point being Tested | Sample Size: Number of Staff Interviewed; Transactions Observed; Documents Sampled | Describe the Results of the Test Stating Whether No problems were Found or the Weaknesses Discovered | Analyze the Weakness Uncovered and Cite Possible Corrective Action Plans
G. Network Controls
The designated LAN Administrator is responsible for providing support for user training, policies and procedures, and security. | Discuss with network administrator.
The files servers, cabling, modems and other network devices are adequately secured to prevent tampering. | Discuss with network administrator.
Individual users have unique identification on the LAN (user ID and password). | Discuss with network administrator.
Access to the LAN and network operating software is limited, depending on the business need. | Discuss with network administrator.
The LAN file server generates activity logs that are reviewed regularly by the LAN administrator. | Discuss with network administrator.
Procedures have been established for the prevention and detection of computer viruses, as well as to ensure compliance with the provisions of software licenses. | Discuss with network administrator.
Penertration testing has been conducted to test the vulnerabilities of the network, with results documented and corrective action plans established to address any weaknesses identified. | Discuss with network administrator.
Measures are in place to help secure access to the network from personally owned devices (smartphones, tablets, etc). | Discuss with network administrator, ISO.

## H.End-User Controls
Data Testing that was Completed for Computer Operations
Brief Description of Key Control Point being Tested | Sample Size: Number of Staff Interviewed; Transactions Observed; Documents Sampled | Describe the Results of the Test Stating Whether No problems were Found or the Weaknesses Discovered | Analyze the Weakness Uncovered and Cite Possible Corrective Action Plans
H. End-User Computing Controls
Procedures have been established for controlling end-user changes to applications. | Discuss with management.
Policies/procedures have been established for acceptible use, as well as the uploading and downloading of software and other content. This should also include prohibiting transmission of sensitive data via email, and the storing sensitive data. | Review policies/procedures and discuss with management.
All changes by end-users are authorized by user management. These changes are tested prior to completion, and documentation is maintained reflecting all changes made creating an audit trail. | Discuss with management.
Virus detection and prevention software is required on all computers, and software patches are pushed out systematically to ensure security is up to date (operating systems and applications). | Discuss with management.